DECREE OF THE DIRECTOR GENERAL OF POST AND TELECOMMUNICATION

NUMBER : 110/DIRJEN/2008

ON

TECHNICAL REQUIREMENTS OF TELECOMMUNICATION TOOLS AND EQUIPMENT MULTISERVICE SWITCH

BY THE GRACE OF GOD THE ALMIGHTY

DIRECTOR GENERAL OF POST AND TELECOMMUNICATION

Considering:          a. that the Decision of the Minister of Communication Number

KM. 3 Year 2001 on Technical Requirements of

Telecommunication Tools and Equipment stipulates that

every telecommunication tool and equipment shall fulfil the

technical requirements;

b. that in order to implement the provision of Article 3 of

the Decree of the Minister of Communication Number KM.

10 Year 2005 on Certification of Telecommunication Tools

and Equipment, any testing of telecommunication tools and

equipment shall be based on technical requirements as

determined by the Director General;

c. that based on considerations mentioned in points a and b

above, it is considered necessary to ratify the Decree of  the

Director General of Post and Teloecommunication on

Technical Requirements of Telecommunication Tools and

Equipment Multiservice Switch.

Bearing in mind:   1.  Law of the Republic of Indonesia Number 36 Year 1999 on

Telecommunication (State Gazette of the Republic of

Indonesia Number 154 Year 1999, Additional State Gazette

of the Republic of Indonesia Number 3881);

.

- Government Regulation of the Republic of Indonesia Number 52 Year 2000 on the Provision of Telecommunication (State Gazette of the Republic of Indonesia Number 107 Year 2000, Additional State Gazette of the Republic of Indonesia Number 3980);

- Government Regulation of the Republic of Indonesia Number 53 Year 2000 on the Use of Radio Frequency Spectrum and Satellite Orbit (State Gazette of the Republic of Indonesia Number 108 Year 2000, Additional State Gazettte of the Republic of Indonesia Number 3481);

- Decree of the President of the Republic of Indonesia Number 9 Year 2005 on Positions, Tasks, Functions Organizational Structure and Working of State Ministries of the Republic of Indonesia as amended by the Decree of the President of the Republic of Indonesia Number 62 Year 2005;

- Decree of the President of the Republic of Indonesia Number 10 Year 2005 on Organizational Units and Functions of Echelon I of State Ministries of the Republic of Indonesia as amended by  the Decree of the President of the Republic of Indonesia Number 72 Year 2007;

- Decision of the Minister of Communication Number KM.2 Year 2001 on the Procedure for Issuing Certificates of the Type of Telecommunication Tools and Equipment;

- Decision of the Minister of Communication Number KM.3 Year 2001 on Technical Requirements of Telecommunication Tools and Equipment;

- Decree of the Minister of Communication Number KM. 10 Year 2005 on Certification of Telecommunication Tools and Equipment;

- Decree of the Minister of Communication and Information Technology Number 01/P/M.Kominfo/4/2005 Year 2005 on Organizational Structure and Working of the Department of Communication and Information Technology;

- Decree of the Minister of Communication and Information Technology Number 03/P./M./Kominfo/5/2005 Year 2005 on Adjustment of Nomenclatures of a number of Decisions/Decrees of the Minister of Communication which regulate Special Material Contents in the field of Post and Telecommunication.

DECIDES

To ratify      :   DECREE OF THE DIRECTOR GENERAL   OF     POST     AND

TELECOMMUNICATION ON TECHNICAL REQUIREMENTS OF

TELECOMMUNICATION TOOLS AND EQUIPMENT                         MULTISERVICE SWITCH

Article 1

Telecommunication tools and equipment  Multiservice Switch shall fulfil the technical requirements as indicated in the Attachment of this Decree.

Article 2

The implementation of testing of telecommunication tools and equipment Multiservice Switch shall fulfil the technical requirements as indicated in the Attachment of this Decree..

Article 3

This Decree shall come into force on the date of its ratification.

Done at :           JAKARTA

On        : March 19,  2008

_____________________

DIRECTOR GENERAL OF POST AND TELECOMMUNICATION

Signed

BASUKI YUSUF ISKANDAR

Copies of this Decree are sent to :

- Minister of Communication and Information Technology;

- Secretary General of the Department of Communication and Information Technology;

- Inspector General of the Department of Communication and Information Technology;

- Directors within the Directorate General of Post and Telecommunication.

ATTACHMENT :  DECREE OF THE DIRECTOR GENERAL

OF POST AND TELECOMMUNICATION

NUMBER          :  110/DIRJEN/2008

DATE                :  March 19, 2008

________________________________________________

TECHNICAL REQUIREMENTS OF TOOLS AND EQUIPMENT

MULTISERVICE SWITCH

CHAPTER I

GENERAL PROVISIONS

1.	Scope

The technical requirements of tools and equipment multiservice switch are the technical requirements for tools and equipment core switch and access switch which cover :

- The General Provisions (scope, definitions, acronyms, and terms);

- The Technical Requirements (operational requirement and network system);

- The Completeness of Equipment (equipment identity and equipment guide);

- Testing (sampling method, test method, and conditions for passing the test);

- Marking.

2.	Definition

Multiservice switch equipment is a switch network equipment capable of being connected to more than one technology in data transmission.

Core switch is a switch equipment placed at gateway level of a network. Switch at this level has a higher capability than the switch at access switch level since it functions in channelling greater traffic. Core switch has also the function of connecting one or more access switch.

3.	Acronyms

ATM        :  Asynchronous Transfer Mode

BGP        :  Border Gateway Protocol

Db           :  decibel

H             :  Humidity

IEEE       :  Institute of Electrical And Electronics Engineers

IP            :  Internet Protocol

IS-IS       :  Intermediate System-To-Intermediate System Protocol

ITU-T      :  International Telecommunication Union-Telecommunication

Standardization Bureau

LAN        :  Local Area Network

MAC       :  Media Access Control

MPLS     :  Multi Protocol Label Switching

OSPF     :  Open Shortest Path First

RAM       :  Random Access Memory

RIP         :  Routing Information Protocol

SDH       :  Synchronous Digital Hierarchy

SNMP    :  Simple Network Management Protocol

STM       :  Synchronous Transfer Module

T             :  Temperature

VLAN      :  Virtual Local Area Networks

4.	Terms

- Ethernet              :  Specification of computer LAN system  using base

band frequency compatible with IEEE 802.3 family

standard.

- Autonomous       :  An association of routers  and networks managed by

System (AS)          an organization and forms a group of routers that

exchange information via the same routing protocol.

- Exterior Routing  :  A protocol used to pass routing information among

Protocol (ERP)       routers in different AS-AS.

CHAPTER II

TECHNICAL REQUIREMENTS

- Operational Requirement

  - Power Supply

The equipment is capable of working with power supply :

    - Direct current voltage     : - 42 up to – 56 Vdc (positive ground) and or

    - Alternate current voltage: nominal 100 – 240 Vac/50 Hz.

- Temperature and Humidity

The equipment must work well at the following conditions:

1)	Room temperature          : 10ºC <T< 45ºC;

2)	Relative humidity             : 40% <H< 80%.

- Security System

The equipment must be furnished with :

  - Protection against overload voltage and current (oveload protection). There is an indicator for providing information on the status of equipment or network;

  - Total Audible Noise Level (dBA) issued by the equipment < 75 dBA at a distance of 1 m with the height of 1.5 m.

2.	Network system

Switch must be able to be connected to data network in compliance with the IEEE 802.2 for layer data link. Switch must also be able to be connected with a number of VLAN based on IEEE 802.1Q tagging.

- Core Switch and Access Switch Interface

Core switch and access switch must at least have one or more interfaces as follows:

  - E1, E3 (ITU Recommendations G.832 and G.804);

  - T1, T3;

  - STM-1, STM-4. STM-16;

  - X21, V35;

  - Ethernet.

- Specification of other Multiservice Switch equipment :

  - Support any one or a number of services, among other things, Asynchronous Transfer Mode (ATM), Frame Relay, MPLS, and SDH;

  - Synchronization :

    - The equipment must be able to operate in a plesiochronous way (operate based on its own internal clock);

    - For the sake of synchronization with network, the equipment must be able to operate in a synchronous way (operate based on a clock reference);

  - For the reliability of the equipment, core switch must have  redundancy configuration.

- The management system of Multiservice Switch

  - Multiservice switch core network:

    - Multiservice on core network may be monitored through SNMP, telnet or web based;

    - The network management on core network multiservice switch may be done locally (by craft terminal) or in a remote manner, among other things, by using telnet, SNMP or web based;

    - The security system uses password;

    - Control on access right may be done based on IP address or on MAC address terminal which will access switch;

    - There exists a verification system for every change of configuration to guarantee the reliability of the system;

    - File configuration shall not be erased although the power supply to the core switch is cut off and can operate again after the power supply is on;

2)	Switch manageable access system:

    - Multiservice switch on access network may be monitored through SNMP, telnet or web based;

    - The network management on access network multiservice switch may be done locally (by craft terminal) or in a remote manner, among other things, by using telnet, SNMP or web based;

    - The security system uses password;

    - Control on access right may be done based on IP address or on MAC address terminal which will access switch;

    - There exists a verification system for every change of configuration to guarantee the reliability of the system;

    - File configuration shall not be erased although the power supply to the core switch is cut off and can operate again after the power supply is on.

3)	Switch autonomous access system

Switch has the internal management capability in line with international standard.

4)	Interoperability

The equipment must be able to communicate with other equipment of the same kind through standard protocol applied on the respective equipment.

Interoperability between equipment may be tested among other things through :

      - Ping or trace route command;

      - Telnet session.

5)	Connection System

The connection process is based on international standard applicable in the respective technology.

For example, for switch ethernet,  when installed for the first time,  the multiservice switch equipment was capable of tracing terminal physical address (MAC address) manually and recorded the result in a learning table until all the addresses in collision domain were recorded. Thereafter the traffic flow process was done based on the learning table.

- The capability of Operating System

In its operation, the multiservice switch operating system may have the following functions:

  - MSS operating system may be upgraded or updated from multiservice switch system itself (from RAM or hard disk) or may be downloaded from another server;

  - Start up system and self test;

  - Help system to support command search;

  - Display process that has occurred or is occurring on multiservice switch (debugging);

  - Interface configuration for every suitable protocol;

  - Recovery from every change and command failure;

  - Encryption password;

  - Back up configuration in the hard disk or other server that can be taken directly from multiservice switch;

  - Permanent file keeping that does not lose even a fault in the system occurs.

- Channelling system for Core Switch

The channelling system for Core Switch uses Layer 3 OSI or other comparable Layer. Example of using multiservice switch ethernet is as follows:

- Routed Protocol namely algorithm used by switch for passing traffic of customers from one switch to another switch;

- Routing Protocol namely algorithm used to support the channelling traffic of customers by reciprocal distribution of experience information. For example: IS-IS, OSPF, RIP, BGP.

CHAPTER III

COMPLETENESS OF EQUIPMENT

Multiservice Switch tool and equipment to be tested must be furnished with:

1.	Equipment Identity

Each tool and equipment to be tested must have identity containing brand, type and serial number;

2.	Equipment Guide

Each tool and equipment to be tested must have an operational guide in Indonesian language and or in English language.

CHAPTER IV

TESTING

Multiservice Switch tool and equipment are considered to pass the test if they fulfil all the provisions contained in these technical requirements, covering:

1.	Sampling Method

Sample of tested material shall be selected at random in accordance with the test procedure in force.

- Test Method

Testing is implemented by a test laboratory designated by the Directorate General of Post and Telecommunication which is capable of showing qualitatively and quantitatively that the test material fulfils the technical requirements.

- Conditions for Passing the Test

The testing result is considered to PASS THE TEST, if all the tested materials comply with all the provisions contained in these technical requirements.

CHAPTER V

MARKING

Each tool and equipment that pass the test shall be provided with a mark containing the name of the factory and the producing country, brand, type and serial number and shall fulfil the certification provision.

Done at :           JAKARTA

On        : March 19,  2008

_____________________

DIRECTOR GENERAL OF POST AND TELECOMMUNICATION

Signed

BASUKI YUSUF ISKANDAR